## Bus Data
Bus
LP1
LP2
LP3
LP4
LP5
LP6
LP7
LP8
LP9
LP10
LP11
LP12
LP13
LP14
LP15
LP16
LP17
LP18
LP19
LP20
LP21
LP22
LP23
LP24
LP25
LP26
LP27
LP28
LP29
LP30
LP31
LP32
LP33
LP34
LP35
LP36
LP37
LP38
LP39
LP40
LP41
LP42
LP43
LP44
LP45
LP46
LP47
LP48
LP49
LP50
LP51
LP52
LP53
LP54
LP55
LP56
LP57
LP58
LP59
LP60
LP61
LP62
LP63
LP64
LP65
LP66
LP67
LP68
LP69
LP70
LP71
LP72
LP73
LP74
LP75
LP76
LP77
LP78
LP79
LP80
LP81
LP82
LP83
LP84
LP85
LP86
LP87
LP88
LP89
LP90
LP91
LP92
LP93
LP94
LP95
LP96
LP97
LP98
LP99
LP100
LP101
LP102
LP103
LP104
LP105
LP106
LP107
LP108
LP109
LP110
LP111
LP112
LP113
LP114
LP115
LP116
LP117
LP118
LP119
LP120
LP121
LP122
LP123
LP124
BB1
BB2
BB3

## Line Data
Section | Length | Upstream Bus | Downstream Bus | Fuse/breaker direction | Disconnector direction | Cable Type | Nr Transformers | Transformer Type
S1 | 1 | LP1 | LP2 | U | B | Line1 | 0
S2 | 1 | LP2 | LP3 | N | U | Line2 | 0
S3 | 1 | LP3 | LP4 | N | N | Line3 | 0
S4 | 1 | LP4 | LP5 | N | N | Line4 | 0
S5 | 1 | LP5 | LP7 | N | N | Line5 | 0
S6 | 1 | LP7 | LP9 | N | N | Line6 | 0
S7 | 1 | LP9 | LP12 | N | N | Line7 | 0
S8 | 1 | LP12 | LP26 | N | N | Line8 | 0
S9 | 1 | LP26 | LP33 | N | N | Line9 | 0
S10 | 1 | LP33 | LP37 | N | N | Line10 | 0
S11 | 1 | LP37 | LP40 | N | D | Line11 | 0
S12 | 1 | LP40 | LP42 | N | U | Line12 | 0
S13 | 1 | LP42 | LP44 | N | D | Line13 | 0
S14 | 1 | LP44 | LP45 | N | U | Line14 | 0
S15 | 1 | LP45 | LP46 | N | D | Line15 | 0
S16 | 1 | LP46 | LP47 | N | B | Line16 | 0
S17 | 1 | LP47 | LP48 | N | U | Line17 | 0
S18 | 1 | LP48 | LP67 | N | D | Line18 | 0
S19 | 1 | LP67 | LP68 | N | B | Line19 | 0
S20 | 1 | LP68 | LP69 | N | B | Line20 | 0
S21 | 1 | LP69 | LP70 | N | B | Line21 | 0
S22 | 1 | LP70 | LP71 | N | U | Line22 | 0
S23 | 1 | LP71 | LP72 | N | N | Line23 | 0
S24 | 1 | LP72 | LP73 | N | D | Line24 | 0
S25 | 1 | LP73 | LP74 | N | U | Line25 | 0
S26 | 1 | LP74 | LP75 | N | N | Line26 | 0
S27 | 1 | LP75 | LP76 | N | N | Line27 | 0
S28 | 1 | LP76 | LP77 | N | N | Line28 | 0
S29 | 1 | LP77 | LP78 | N | N | Line29 | 0
S30 | 1 | LP78 | LP79 | N | N | Line30 | 0
S31 | 1 | LP79 | LP80 | N | D | Line31 | 0
S32 | 1 | LP80 | LP81 | N | U | Line32 | 0
S33 | 1 | LP81 | LP82 | N | N | Line33 | 0
S34 | 1 | LP82 | LP83 | N | N | Line34 | 0
S35 | 1 | LP83 | LP85 | N | N | Line35 | 0
S36 | 1 | LP85 | LP86 | N | N | Line36 | 0
S37 | 1 | LP86 | LP92 | N | D | Line37 | 0
S38 | 1 | LP92 | LP93 | N | U | Line38 | 0
S39 | 1 | LP93 | LP94 | N | N | Line39 | 0
S40 | 1 | LP94 | LP95 | N | N | Line40 | 0
S41 | 1 | LP95 | LP96 | N | N | Line41 | 0
S42 | 1 | LP4 | LP6 | N | N | Line42 | 0
S43 | 1 | LP5 | LP8 | N | N | Line43 | 0
S44 | 1 | LP7 | LP10 | N | N | Line44 | 0
S45 | 1 | LP7 | LP11 | N | N | Line45 | 0
S46 | 1 | LP9 | LP13 | N | D | Line46 | 0
S47 | 1 | LP13 | LP14 | N | U | Line47 | 0
S48 | 1 | LP12 | LP16 | N | N | Line48 | 0
S49 | 1 | LP16 | LP18 | N | D | Line49 | 0
S50 | 1 | LP18 | LP19 | N | U | Line50 | 0
S51 | 1 | LP19 | LP21 | N | D | Line51 | 0
S52 | 1 | LP21 | LP22 | N | U | Line52 | 0
S53 | 1 | LP22 | LP23 | N | N | Line53 | 0
S54 | 1 | LP23 | LP24 | N | N | Line54 | 0
S55 | 1 | LP24 | LP25 | N | N | Line55 | 0
S56 | 1 | LP16 | LP17 | N | N | Line56 | 0
S57 | 1 | LP19 | LP20 | N | N | Line57 | 0
S58 | 1 | LP26 | LP27 | N | N | Line58 | 0
S59 | 1 | LP27 | LP28 | N | D | Line59 | 0
S60 | 1 | LP28 | LP29 | N | U | Line60 | 0
S61 | 1 | LP29 | LP30 | N | N | Line61 | 0
S62 | 1 | LP30 | LP31 | N | D | Line62 | 0
S63 | 1 | LP31 | LP32 | N | U | Line63 | 0
S64 | 1 | LP33 | LP34 | N | D | Line64 | 0
S65 | 1 | LP34 | LP35 | N | U | Line65 | 0
S66 | 1 | LP35 | LP36 | N | D | Line66 | 0
S67 | 1 | LP37 | LP38 | N | N | Line67 | 0
S68 | 1 | LP38 | LP39 | N | N | Line68 | 0
S69 | 1 | LP40 | LP41 | N | U | Line69 | 0
S70 | 1 | LP42 | LP109 | N | D | Line70 | 0
S71 | 1 | LP109 | LP110 | N | U | Line71 | 0
S72 | 1 | LP110 | LP111 | N | N | Line72 | 0
S73 | 1 | LP42 | LP43 | N | N | Line73 | 0
S74 | 1 | LP43 | LP115 | N | N | Line74 | 0
S75 | 1 | LP115 | LP118 | N | N | Line75 | 0
S76 | 1 | LP43 | LP112 | N | N | Line76 | 0
S77 | 1 | LP112 | LP113 | N | N | Line77 | 0
S78 | 1 | LP112 | LP114 | N | N | Line78 | 0
S79 | 1 | LP45 | LP116 | N | N | Line79 | 0
S80 | 1 | LP116 | LP119 | N | N | Line80 | 0
S81 | 1 | LP119 | LP122 | N | N | Line81 | 0
S82 | 1 | LP122 | LP123 | N | N | Line82 | 0
S83 | 1 | LP119 | LP121 | N | N | Line83 | 0
S84 | 1 | LP116 | LP124 | N | N | Line84 | 0
S85 | 1 | LP119 | LP120 | N | N | Line85 | 0
S86 | 1 | LP47 | LP49 | N | B | Line86 | 0
S87 | 1 | LP49 | LP52 | N | U | Line87 | 0
S88 | 1 | LP52 | LP53 | N | N | Line88 | 0
S89 | 1 | LP53 | LP54 | N | N | Line89 | 0
S90 | 1 | LP54 | LP55 | N | D | Line90 | 0
S91 | 1 | LP55 | LP56 | N | U | Line91 | 0
S92 | 1 | LP56 | LP57 | N | N | Line92 | 0
S93 | 1 | LP57 | LP58 | N | N | Line93 | 0
S94 | 1 | LP58 | LP59 | N | N | Line94 | 0
S95 | 1 | LP59 | LP60 | N | N | Line95 | 0
S96 | 1 | LP60 | LP61 | N | N | Line96 | 0
S97 | 1 | LP61 | LP62 | N | D | Line97 | 0
S98 | 1 | LP49 | LP50 | N | U | Line98 | 0
S99 | 1 | LP50 | LP51 | N | N | Line99 | 0
S100 | 1 | LP59 | LP117 | N | N | Line100 | 0
S101 | 1 | LP48 | LP63 | N | N | Line101 | 0
S102 | 1 | LP63 | LP65 | N | N | Line102 | 0
S103 | 1 | LP65 | LP66 | N | N | Line103 | 0
S104 | 1 | LP63 | LP64 | N | N | Line104 | 0
S105 | 1 | LP71 | LP106 | N | N | Line105 | 0
S106 | 1 | LP72 | LP107 | N | N | Line106 | 0
S107 | 1 | LP107 | LP108 | N | N | Line107 | 0
S108 | 1 | LP76 | LP102 | N | N | Line108 | 0
S109 | 1 | LP102 | LP103 | N | D | Line109 | 0
S110 | 1 | LP103 | LP104 | N | U | Line110 | 0
S111 | 1 | LP104 | LP105 | N | N | Line111 | 0
S112 | 1 | LP82 | LP100 | N | N | Line112 | 0
S113 | 1 | LP100 | LP101 | N | U | Line113 | 0
S114 | 1 | LP83 | LP84 | N | N | Line114 | 0
S115 | 1 | LP85 | LP97 | N | N | Line115 | 0
S116 | 1 | LP97 | LP98 | N | N | Line116 | 0
S117 | 1 | LP98 | LP99 | N | N | Line117 | 0
S118 | 1 | LP86 | LP89 | N | N | Line118 | 0
S119 | 1 | LP89 | LP90 | N | N | Line119 | 0
S120 | 1 | LP86 | LP87 | N | N | Line120 | 0
S121 | 1 | LP87 | LP88 | N | D | Line121 | 0
S122 | 1 | LP86 | LP91 | N | N | Line122 | 0
S123 | 1 | LP9 | LP15 | N | N | Line123 | 0

## Generation Data
| Lim MW | E cap | Main Feeder
LP1 | inf | 0 | True
BB1 | inf | 0 | True
BB2 | inf | 0 | True
BB3 | inf | 0 | True

## Backup Feeders
| End 1 | End 2 | s
BS1 | LP36 | BB1 | 0.5
BS2 | LP62 | BB2 | 0.5
BS3 | LP88 | BB3 | 0.5

## Load Point Data
Load Point | Customer type | Load level average [MW] | Load point peak [MW] | Number of customers | c_NOK_per_kWh_1h | c_NOK_per_kWh_4h
LP1 | residential | 0 | 0 | 1 | 0 | 0
LP2 | residential | 0.10257 | 0.10257 | 1 | 60.3161 | 52.7445
LP3 | residential | 0 | 0 | 0 | 0 | 0
LP4 | residential | 0 | 0 | 0 | 0 | 0
LP5 | residential | 0 | 0 | 0 | 0 | 0
LP6 | residential | 0.31228 | 0.31228 | 1 | 52.7428 | 46.1219
LP7 | residential | 0 | 0 | 0 | 0 | 0
LP8 | residential | 0.070067 | 0.070067 | 1 | 60.2099 | 52.6516
LP9 | residential | 0 | 0 | 0 | 0 | 0
LP10 | residential | 0.077479 | 0.077479 | 1 | 57.3364 | 50.1388
LP11 | residential | 0.054437 | 0.054437 | 1 | 73.2398 | 64.0458
LP12 | residential | 0 | 0 | 0 | 0 | 0
LP13 | residential | 0.069717 | 0.069717 | 1 | 52.6665 | 46.0552
LP14 | commercial | 0.044766 | 0.044766 | 1 | 70.6562 | 61.7866
LP15 | residential | 0.034603 | 0.034603 | 1 | 57.4723 | 50.2577
LP16 | residential | 0 | 0 | 0 | 0 | 0
LP17 | agriculture | 0.083955 | 0.083955 | 1 | 58.2666 | 50.9523
LP18 | residential | 0.059473 | 0.059473 | 1 | 70.7065 | 61.8306
LP19 | residential | 0 | 0 | 0 | 0 | 0
LP20 | agriculture | 0.098526 | 0.098526 | 1 | 61.8823 | 54.1141
LP21 | industry | 0.016414 | 0.016414 | 1 | 81.2816 | 71.0782
LP22 | residential | 0 | 0 | 0 | 0 | 0
LP23 | residential | 0 | 0 | 0 | 0 | 0
LP24 | residential | 0 | 0 | 0 | 0 | 0
LP25 | residential | 0.014602 | 0.014602 | 1 | 58.0986 | 50.8054
LP26 | residential | 0 | 0 | 0 | 0 | 0
LP27 | residential | 0 | 0 | 0 | 0 | 0
LP28 | residential | 0.067753 | 0.067753 | 1 | 74.5017 | 65.1494
LP29 | residential | 0 | 0 | 0 | 0 | 0
LP30 | residential | 0 | 0 | 0 | 0 | 0
LP31 | residential | 0.11648 | 0.11648 | 1 | 57.3569 | 50.1568
LP32 | residential | 0.23244 | 0.23244 | 1 | 95.4805 | 83.4947
LP33 | residential | 0 | 0 | 0 | 0 | 0
LP34 | residential | 0.10463 | 0.10463 | 1 | 62.7952 | 54.9124
LP35 | residential | 0 | 0 | 0 | 0 | 0
LP36 | residential | 0 | 0 | 0 | 0 | 0
LP37 | residential | 0 | 0 | 0 | 0 | 0
LP38 | residential | 0 | 0 | 0 | 0 | 0
LP39 | residential | 0.058684 | 0.058684 | 1 | 62.0093 | 54.2251
LP40 | residential | 0.057928 | 0.057928 | 1 | 72.9501 | 63.7925
LP41 | residential | 0.027773 | 0.027773 | 1 | 59.3706 | 51.9177
LP42 | residential | 0 | 0 | 0 | 0 | 0
LP43 | residential | 0 | 0 | 0 | 0 | 0
LP44 | public | 0.031023 | 0.031023 | 1 | 58.1659 | 50.8642
LP45 | residential | 0 | 0 | 0 | 0 | 0
LP46 | industry | 0.29109 | 0.29109 | 1 | 69.6983 | 60.9489
LP47 | residential | 0.13576 | 0.13576 | 1 | 61.5269 | 53.8033
LP48 | residential | 0 | 0 | 0 | 0 | 0
LP49 | residential | 0.35952 | 0.35952 | 1 | 72.2263 | 63.1596
LP50 | residential | 0 | 0 | 0 | 0 | 0
LP51 | residential | 0.074595 | 0.074595 | 1 | 73.5213 | 64.292
LP52 | residential | 0 | 0 | 0 | 0 | 0
LP53 | residential | 0 | 0 | 0 | 0 | 0
LP54 | residential | 0 | 0 | 0 | 0 | 0
LP55 | residential | 0.31569 | 0.31569 | 1 | 92.3073 | 80.7198
LP56 | residential | 0 | 0 | 0 | 0 | 0
LP57 | residential | 0 | 0 | 0 | 0 | 0
LP58 | residential | 0 | 0 | 0 | 0 | 0
LP59 | residential | 0 | 0 | 0 | 0 | 0
LP60 | residential | 0 | 0 | 0 | 0 | 0
LP61 | residential | 0 | 0 | 0 | 0 | 0
LP62 | residential | 0 | 0 | 0 | 0 | 0
LP63 | residential | 0 | 0 | 0 | 0 | 0
LP64 | residential | 0.14771 | 0.14771 | 1 | 62.8102 | 54.9255
LP65 | residential | 0 | 0 | 0 | 0 | 0
LP66 | residential | 0.032252 | 0.032252 | 1 | 60.8916 | 53.2478
LP67 | residential | 0.025002 | 0.025002 | 1 | 62.8361 | 54.9482
LP68 | public | 0.0087325 | 0.0087325 | 1 | 56.8085 | 49.6773
LP69 | public | 0.019565 | 0.019565 | 1 | 45.9932 | 40.2196
LP70 | residential | 0.085248 | 0.085248 | 1 | 57.9519 | 50.6771
LP71 | residential | 0 | 0 | 0 | 0 | 0
LP72 | residential | 0 | 0 | 0 | 0 | 0
LP73 | residential | 0.45568 | 0.45568 | 1 | 66.2448 | 57.929
LP74 | residential | 0 | 0 | 0 | 0 | 0
LP75 | residential | 0 | 0 | 0 | 0 | 0
LP76 | residential | 0 | 0 | 0 | 0 | 0
LP77 | residential | 0 | 0 | 0 | 0 | 0
LP78 | residential | 0 | 0 | 0 | 0 | 0
LP79 | residential | 0 | 0 | 0 | 0 | 0
LP80 | agriculture | 0.021938 | 0.021938 | 1 | 63.6647 | 55.6728
LP81 | residential | 0 | 0 | 0 | 0 | 0
LP82 | residential | 0 | 0 | 0 | 0 | 0
LP83 | residential | 0 | 0 | 0 | 0 | 0
LP84 | residential | 0.026927 | 0.026927 | 1 | 63.2496 | 55.3097
LP85 | residential | 0 | 0 | 0 | 0 | 0
LP86 | residential | 0 | 0 | 0 | 0 | 0
LP87 | residential | 0 | 0 | 0 | 0 | 0
LP88 | residential | 0 | 0 | 0 | 0 | 0
LP89 | residential | 0 | 0 | 0 | 0 | 0
LP90 | commercial | 0.043782 | 0.043782 | 1 | 58.6964 | 51.3281
LP91 | residential | 0.15354 | 0.15354 | 1 | 66.6916 | 58.3197
LP92 | agriculture | 0.073773 | 0.073773 | 1 | 68.8179 | 60.1791
LP93 | residential | 0 | 0 | 0 | 0 | 0
LP94 | residential | 0 | 0 | 0 | 0 | 0
LP95 | residential | 0 | 0 | 0 | 0 | 0
LP96 | residential | 0.18379 | 0.18379 | 1 | 55.7858 | 48.7829
LP97 | residential | 0 | 0 | 0 | 0 | 0
LP98 | residential | 0 | 0 | 0 | 0 | 0
LP99 | residential | 0.082192 | 0.082192 | 1 | 65.0409 | 56.8762
LP100 | residential | 0 | 0 | 0 | 0 | 0
LP101 | residential | 0.18603 | 0.18603 | 1 | 83.6275 | 73.1296
LP102 | residential | 0 | 0 | 0 | 0 | 0
LP103 | public | 0.29551 | 0.29551 | 1 | 71.3795 | 62.4191
LP104 | residential | 0 | 0 | 0 | 0 | 0
LP105 | residential | 0.29637 | 0.29637 | 1 | 60.1224 | 52.5752
LP106 | residential | 0.20209 | 0.20209 | 1 | 59.9217 | 52.3996
LP107 | residential | 0 | 0 | 0 | 0 | 0
LP108 | residential | 0.11166 | 0.11166 | 1 | 50.9548 | 44.5584
LP109 | residential | 0.046128 | 0.046128 | 1 | 56.843 | 49.7074
LP110 | residential | 0 | 0 | 0 | 0 | 0
LP111 | residential | 0.27655 | 0.27655 | 1 | 74.4433 | 65.0983
LP112 | residential | 0 | 0 | 0 | 0 | 0
LP113 | commercial | 0.00078442 | 0.00078442 | 1 | 53.9949 | 47.2168
LP114 | residential | 0.077797 | 0.077797 | 1 | 65.8849 | 57.6143
LP115 | residential | 0 | 0 | 0 | 0 | 0
LP116 | residential | 0 | 0 | 0 | 0 | 0
LP117 | residential | 0.12115 | 0.12115 | 1 | 57.8955 | 50.6278
LP118 | residential | 0.035389 | 0.035389 | 1 | 61.0623 | 53.3971
LP119 | residential | 0 | 0 | 0 | 0 | 0
LP120 | residential | 0.26325 | 0.26325 | 1 | 58.4232 | 51.0892
LP121 | residential | 0.068541 | 0.068541 | 1 | 59.5967 | 52.1154
LP122 | residential | 0 | 0 | 0 | 0 | 0
LP123 | residential | 0 | 0 | 0 | 0 | 0
LP124 | residential | 0.15354 | 0.15354 | 1 | 54.6177 | 47.7614

## Component Data
Component | lambda | lambda_temp | r | r_temp | s
Line1 | 0.011517 | 0.0010938 | 5 | 0.02 | 0.5
Line2 | 0.0071566 | 0.00067967 | 5 | 0.02 | 0.5
Line3 | 0.013179 | 0.0012516 | 5 | 0.02 | 0.5
Line4 | 0.0034375 | 0.00032646 | 5 | 0.02 | 0.5
Line5 | 0.01379 | 0.015075 | 3 | 0.02 | 0.5
Line6 | 0.0077557 | 0.0084785 | 3 | 0.02 | 0.5
Line7 | 0.023735 | 0.025947 | 3 | 0.02 | 0.5
Line8 | 0.019215 | 0.021006 | 3 | 0.02 | 0.5
Line9 | 0.018166 | 0.019859 | 3 | 0.02 | 0.5
Line10 | 0.013078 | 0.014297 | 3 | 0.02 | 0.5
Line11 | 0.027414 | 0.029969 | 3 | 0.02 | 0.5
Line12 | 0.03282 | 0.035878 | 3 | 0.02 | 0.5
Line13 | 0.013924 | 0.015222 | 3 | 0.02 | 0.5
Line14 | 0.0024085 | 0.0026329 | 3 | 0.02 | 0.5
Line15 | 0.019181 | 0.020968 | 3 | 0.02 | 0.5
Line16 | 0.033414 | 0.036528 | 3 | 0.02 | 0.5
Line17 | 0.0034208 | 0.0037396 | 3 | 0.02 | 0.5
Line18 | 0.012441 | 0.0136 | 3 | 0.02 | 0.5
Line19 | 0.016463 | 0.017997 | 3 | 0.02 | 0.5
Line20 | 0.021506 | 0.023511 | 3 | 0.02 | 0.5
Line21 | 0.011102 | 0.012137 | 3 | 0.02 | 0.5
Line22 | 0.0072991 | 0.0079794 | 3 | 0.02 | 0.5
Line23 | 0.012008 | 0.013127 | 3 | 0.02 | 0.5
Line24 | 0.00011588 | 1.1005e-05 | 5 | 0.02 | 0.5
Line25 | 0.00017219 | 1.6353e-05 | 5 | 0.02 | 0.5
Line26 | 0.009621 | 0.00091373 | 5 | 0.02 | 0.5
Line27 | 1.005e-05 | 9.5445e-07 | 5 | 0.02 | 0.5
Line28 | 3.3528e-06 | 3.1842e-07 | 5 | 0.02 | 0.5
Line29 | 4.2625e-06 | 4.0482e-07 | 5 | 0.02 | 0.5
Line30 | 0.016154 | 0.0015342 | 5 | 0.02 | 0.5
Line31 | 7.7972e-05 | 7.4052e-06 | 5 | 0.02 | 0.5
Line32 | 0.00010234 | 9.7193e-06 | 5 | 0.02 | 0.5
Line33 | 0.0020237 | 0.00019219 | 5 | 0.02 | 0.5
Line34 | 0.017142 | 0.018739 | 3 | 0.02 | 0.5
Line35 | 0.013453 | 0.014707 | 3 | 0.02 | 0.5
Line36 | 0.01318 | 0.014408 | 3 | 0.02 | 0.5
Line37 | 3.7773e-06 | 3.5874e-07 | 5 | 0.02 | 0.5
Line38 | 3.6387e-06 | 3.4558e-07 | 5 | 0.02 | 0.5
Line39 | 0.0089292 | 0.00084802 | 5 | 0.02 | 0.5
Line40 | 0.00088783 | 8.4319e-05 | 5 | 0.02 | 0.5
Line41 | 0.0048576 | 0.00046134 | 5 | 0.02 | 0.5
Line42 | 0.0038058 | 0.00036144 | 5 | 0.02 | 0.5
Line43 | 5.6111e-05 | 5.329e-06 | 5 | 0.02 | 0.5
Line44 | 3.0756e-06 | 2.9209e-07 | 5 | 0.02 | 0.5
Line45 | 6.0125e-06 | 5.7102e-07 | 5 | 0.02 | 0.5
Line46 | 0.0036879 | 0.00035025 | 5 | 0.02 | 0.5
Line47 | 0.0082772 | 0.0007861 | 5 | 0.02 | 0.5
Line48 | 0.0024343 | 0.0026612 | 3 | 0.02 | 0.5
Line49 | 0.019408 | 0.021217 | 3 | 0.02 | 0.5
Line50 | 0.02125 | 0.02323 | 3 | 0.02 | 0.5
Line51 | 0.010348 | 0.00098281 | 5 | 0.02 | 0.5
Line52 | 6.9129e-05 | 6.5653e-06 | 5 | 0.02 | 0.5
Line53 | 0.0044911 | 0.0049096 | 3 | 0.02 | 0.5
Line54 | 0.011624 | 0.012707 | 3 | 0.02 | 0.5
Line55 | 4.8949e-06 | 4.6488e-07 | 5 | 0.02 | 0.5
Line56 | 7.9326e-05 | 7.5338e-06 | 5 | 0.02 | 0.5
Line57 | 3.0756e-06 | 2.9209e-07 | 5 | 0.02 | 0.5
Line58 | 0.0022533 | 0.000214 | 5 | 0.02 | 0.5
Line59 | 4.1932e-06 | 3.9824e-07 | 5 | 0.02 | 0.5
Line60 | 3.0929e-06 | 2.9374e-07 | 5 | 0.02 | 0.5
Line61 | 0.00074002 | 7.0281e-05 | 5 | 0.02 | 0.5
Line62 | 0.00041398 | 3.9317e-05 | 5 | 0.02 | 0.5
Line63 | 0.0050593 | 0.00048049 | 5 | 0.02 | 0.5
Line64 | 0.019638 | 0.021468 | 3 | 0.02 | 0.5
Line65 | 0.010565 | 0.0010034 | 5 | 0.02 | 0.5
Line66 | 6.2898e-06 | 5.9735e-07 | 5 | 0.02 | 0.5
Line67 | 0.0078705 | 0.008604 | 3 | 0.02 | 0.5
Line68 | 1.3943e-05 | 1.3242e-06 | 5 | 0.02 | 0.5
Line69 | 0.0085911 | 0.00081591 | 5 | 0.02 | 0.5
Line70 | 0.0093857 | 0.01026 | 3 | 0.02 | 0.5
Line71 | 0.010338 | 0.011302 | 3 | 0.02 | 0.5
Line72 | 8.0409e-05 | 7.6366e-06 | 5 | 0.02 | 0.5
Line73 | 0.0027872 | 0.003047 | 3 | 0.02 | 0.5
Line74 | 0.016534 | 0.018075 | 3 | 0.02 | 0.5
Line75 | 4.1932e-06 | 3.9824e-07 | 5 | 0.02 | 0.5
Line76 | 0.016749 | 0.01831 | 3 | 0.02 | 0.5
Line77 | 4.2018e-06 | 3.9906e-07 | 5 | 0.02 | 0.5
Line78 | 0.034445 | 0.037655 | 3 | 0.02 | 0.5
Line79 | 0.005228 | 0.0057152 | 3 | 0.02 | 0.5
Line80 | 0.0048026 | 0.0052502 | 3 | 0.02 | 0.5
Line81 | 0.0021327 | 0.00020255 | 5 | 0.02 | 0.5
Line82 | 0.00016001 | 1.5196e-05 | 5 | 0.02 | 0.5
Line83 | 0.007494 | 0.00071172 | 5 | 0.02 | 0.5
Line84 | 3.0756e-06 | 2.9209e-07 | 5 | 0.02 | 0.5
Line85 | 0.0054263 | 0.00051534 | 5 | 0.02 | 0.5
Line86 | 0.00651 | 0.00061826 | 5 | 0.02 | 0.5
Line87 | 4.3318e-06 | 4.114e-07 | 5 | 0.02 | 0.5
Line88 | 0.0090017 | 0.00085491 | 5 | 0.02 | 0.5
Line89 | 0.005638 | 0.00053545 | 5 | 0.02 | 0.5
Line90 | 0.0047085 | 0.00044717 | 5 | 0.02 | 0.5
Line91 | 3.9159e-06 | 3.7191e-07 | 5 | 0.02 | 0.5
Line92 | 0.0045039 | 0.00042775 | 5 | 0.02 | 0.5
Line93 | 0.0058279 | 0.00055349 | 5 | 0.02 | 0.5
Line94 | 0.00078017 | 7.4094e-05 | 5 | 0.02 | 0.5
Line95 | 0.0083632 | 0.00079427 | 5 | 0.02 | 0.5
Line96 | 0.0025945 | 0.00024641 | 5 | 0.02 | 0.5
Line97 | 3.0756e-06 | 2.9209e-07 | 5 | 0.02 | 0.5
Line98 | 0.0081325 | 0.00077236 | 5 | 0.02 | 0.5
Line99 | 3.2142e-06 | 3.0526e-07 | 5 | 0.02 | 0.5
Line100 | 3.0756e-06 | 2.9209e-07 | 5 | 0.02 | 0.5
Line101 | 0.036697 | 0.040117 | 3 | 0.02 | 0.5
Line102 | 0.02957 | 0.032326 | 3 | 0.02 | 0.5
Line103 | 3.3875e-06 | 3.2171e-07 | 5 | 0.02 | 0.5
Line104 | 8.5824e-05 | 8.1509e-06 | 5 | 0.02 | 0.5
Line105 | 0.0015204 | 0.0001444 | 5 | 0.02 | 0.5
Line106 | 0.012398 | 0.013554 | 3 | 0.02 | 0.5
Line107 | 8.5282e-05 | 8.0994e-06 | 5 | 0.02 | 0.5
Line108 | 3.5001e-06 | 3.3241e-07 | 5 | 0.02 | 0.5
Line109 | 0.0016289 | 0.0001547 | 5 | 0.02 | 0.5
Line110 | 0.0030009 | 0.00028501 | 5 | 0.02 | 0.5
Line111 | 4.0546e-06 | 3.8507e-07 | 5 | 0.02 | 0.5
Line112 | 0.0052602 | 0.00049957 | 5 | 0.02 | 0.5
Line113 | 4.4791e-06 | 4.2539e-07 | 5 | 0.02 | 0.5
Line114 | 3.9506e-06 | 3.752e-07 | 5 | 0.02 | 0.5
Line115 | 0.0065938 | 0.00062623 | 5 | 0.02 | 0.5
Line116 | 0.0014851 | 0.00014104 | 5 | 0.02 | 0.5
Line117 | 4.1239e-06 | 3.9165e-07 | 5 | 0.02 | 0.5
Line118 | 0.0022776 | 0.00021631 | 5 | 0.02 | 0.5
Line119 | 0.0011805 | 0.00011211 | 5 | 0.02 | 0.5
Line120 | 0.011089 | 0.012122 | 3 | 0.02 | 0.5
Line121 | 0.00022065 | 2.0956e-05 | 5 | 0.02 | 0.5
Line122 | 0.0034025 | 0.00032314 | 5 | 0.02 | 0.5
Line123 | 4.1932e-06 | 3.9824e-07 | 5 | 0.02 | 0.5

## Weekly Load Factor
Week | Load Factor
1 | 86.2
2 | 90
3 | 87.8
4 | 83.4
5 | 88
6 | 84.1
7 | 83.2
8 | 80.6
9 | 74
10 | 73.7
11 | 71.5
12 | 72.7
13 | 70.4
14 | 75
15 | 72.1
16 | 80
17 | 75.4
18 | 83.7
19 | 87
20 | 88
21 | 85.6
22 | 81.1
23 | 90
24 | 88.7
25 | 89.6
26 | 86.1
27 | 75.5
28 | 81.6
29 | 80.1
30 | 88
31 | 72.2
32 | 77.6
33 | 80
34 | 72.9
35 | 72.6
36 | 70.5
37 | 78
38 | 69.5
39 | 72.4
40 | 72.4
41 | 74.3
42 | 74.4
43 | 80
44 | 88.1
45 | 88.5
46 | 90.9
47 | 94
48 | 89
49 | 94.2
50 | 97
51 | 100
52 | 95.2

## Daily Load Factor
Day of week | Load Factor
1 | 93
2 | 100
3 | 98
4 | 96
5 | 94
6 | 77
7 | 75

## Hourly Load Factor
Hours | Winter Wkdy | Winter Wknd | Summer Wkdy | Summer Wknd | Spring/Fall Wkdy | Spring/Fall Wknd
1 | 67 | 78 | 64 | 74 | 63 | 75
2 | 63 | 72 | 60 | 70 | 62 | 73
3 | 60 | 68 | 58 | 66 | 60 | 69
4 | 59 | 66 | 56 | 65 | 58 | 66
5 | 59 | 64 | 56 | 64 | 59 | 65
6 | 60 | 65 | 58 | 62 | 65 | 65
7 | 74 | 66 | 64 | 62 | 72 | 68
8 | 86 | 70 | 76 | 66 | 85 | 74
9 | 95 | 80 | 87 | 81 | 95 | 83
10 | 96 | 88 | 95 | 86 | 99 | 89
11 | 96 | 90 | 99 | 91 | 100 | 92
12 | 95 | 91 | 100 | 93 | 99 | 94
13 | 95 | 90 | 99 | 93 | 93 | 91
14 | 95 | 88 | 100 | 92 | 92 | 90
15 | 93 | 87 | 100 | 91 | 90 | 90
16 | 94 | 87 | 97 | 91 | 88 | 86
17 | 99 | 91 | 96 | 92 | 90 | 85
18 | 100 | 100 | 96 | 94 | 92 | 88
19 | 100 | 99 | 93 | 95 | 96 | 92
20 | 96 | 97 | 92 | 95 | 98 | 100
21 | 91 | 94 | 92 | 100 | 96 | 97
22 | 83 | 92 | 93 | 93 | 90 | 95
23 | 73 | 87 | 87 | 88 | 80 | 90
24 | 63 | 81 | 72 | 80 | 70 | 85

## Buses
Bus | IsSlack | Load_kVA | PowerFactor | P (MW) | Q (MVAr) | P_pu (pu) | Q_pu (pu)
1 | 1 | 0 | 1 | 0 | 0 | 0 | 0
2 | 0 | 107.9714 | 0.95 | 0.10257 | 0.033713 | 0.010257 | 0.0033713
3 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4 | 0 | 0 | 1 | 0 | 0 | 0 | 0
5 | 0 | 0 | 1 | 0 | 0 | 0 | 0
6 | 0 | 328.7174 | 0.95 | 0.31228 | 0.10264 | 0.031228 | 0.010264
7 | 0 | 0 | 1 | 0 | 0 | 0 | 0
8 | 0 | 73.7543 | 0.95 | 0.070067 | 0.023029 | 0.0070067 | 0.0023029
9 | 0 | 0 | 1 | 0 | 0 | 0 | 0
10 | 0 | 81.5569 | 0.95 | 0.077479 | 0.025465 | 0.0077479 | 0.0025465
11 | 0 | 57.3016 | 0.95 | 0.054437 | 0.017892 | 0.0054437 | 0.0017892
12 | 0 | 0 | 1 | 0 | 0 | 0 | 0
13 | 0 | 73.3856 | 0.95 | 0.069717 | 0.022914 | 0.0069717 | 0.0022914
14 | 0 | 47.1219 | 0.95 | 0.044766 | 0.014713 | 0.0044766 | 0.0014713
15 | 0 | 36.4241 | 0.95 | 0.034603 | 0.011373 | 0.0034603 | 0.0011373
16 | 0 | 0 | 1 | 0 | 0 | 0 | 0
17 | 0 | 88.3736 | 0.95 | 0.083955 | 0.027594 | 0.0083955 | 0.0027594
18 | 0 | 62.6027 | 0.95 | 0.059473 | 0.019547 | 0.0059473 | 0.0019547
19 | 0 | 0 | 1 | 0 | 0 | 0 | 0
20 | 0 | 103.7113 | 0.95 | 0.098526 | 0.032383 | 0.0098526 | 0.0032383
21 | 0 | 17.2777 | 0.95 | 0.016414 | 0.0053948 | 0.0016414 | 0.00053948
22 | 0 | 0 | 1 | 0 | 0 | 0 | 0
23 | 0 | 0 | 1 | 0 | 0 | 0 | 0
24 | 0 | 0 | 1 | 0 | 0 | 0 | 0
25 | 0 | 15.37 | 0.95 | 0.014602 | 0.0047991 | 0.0014602 | 0.00047991
26 | 0 | 0 | 1 | 0 | 0 | 0 | 0
27 | 0 | 0 | 1 | 0 | 0 | 0 | 0
28 | 0 | 71.319 | 0.95 | 0.067753 | 0.022268 | 0.0067753 | 0.0022268
29 | 0 | 0 | 1 | 0 | 0 | 0 | 0
30 | 0 | 0 | 1 | 0 | 0 | 0 | 0
31 | 0 | 122.6054 | 0.95 | 0.11648 | 0.038282 | 0.011648 | 0.0038282
32 | 0 | 244.6745 | 0.95 | 0.23244 | 0.076397 | 0.023244 | 0.0076397
33 | 0 | 0 | 1 | 0 | 0 | 0 | 0
34 | 0 | 110.1348 | 0.95 | 0.10463 | 0.034388 | 0.010463 | 0.0034388
35 | 0 | 0 | 1 | 0 | 0 | 0 | 0
36 | 0 | 0 | 1 | 0 | 0 | 0 | 0
37 | 0 | 0 | 1 | 0 | 0 | 0 | 0
38 | 0 | 0 | 1 | 0 | 0 | 0 | 0
39 | 0 | 61.7724 | 0.95 | 0.058684 | 0.019288 | 0.0058684 | 0.0019288
40 | 0 | 60.9764 | 0.95 | 0.057928 | 0.019039 | 0.0057928 | 0.0019039
41 | 0 | 29.2344 | 0.95 | 0.027773 | 0.0091281 | 0.0027773 | 0.00091281
42 | 0 | 0 | 1 | 0 | 0 | 0 | 0
43 | 0 | 0 | 1 | 0 | 0 | 0 | 0
44 | 0 | 32.6553 | 0.95 | 0.031023 | 0.010196 | 0.0031023 | 0.0010196
45 | 0 | 0 | 1 | 0 | 0 | 0 | 0
46 | 0 | 306.4074 | 0.95 | 0.29109 | 0.095672 | 0.029109 | 0.0095672
47 | 0 | 142.9025 | 0.95 | 0.13576 | 0.04462 | 0.013576 | 0.004462
48 | 0 | 0 | 1 | 0 | 0 | 0 | 0
49 | 0 | 378.445 | 0.95 | 0.35952 | 0.11816 | 0.035952 | 0.011816
50 | 0 | 0 | 1 | 0 | 0 | 0 | 0
51 | 0 | 78.5204 | 0.95 | 0.074595 | 0.024517 | 0.0074595 | 0.0024517
52 | 0 | 0 | 1 | 0 | 0 | 0 | 0
53 | 0 | 0 | 1 | 0 | 0 | 0 | 0
54 | 0 | 0 | 1 | 0 | 0 | 0 | 0
55 | 0 | 332.3003 | 0.95 | 0.31569 | 0.10376 | 0.031569 | 0.010376
56 | 0 | 0 | 1 | 0 | 0 | 0 | 0
57 | 0 | 0 | 1 | 0 | 0 | 0 | 0
58 | 0 | 0 | 1 | 0 | 0 | 0 | 0
59 | 0 | 0 | 1 | 0 | 0 | 0 | 0
60 | 0 | 0 | 1 | 0 | 0 | 0 | 0
61 | 0 | 0 | 1 | 0 | 0 | 0 | 0
62 | 0 | 0 | 1 | 0 | 0 | 0 | 0
63 | 0 | 0 | 1 | 0 | 0 | 0 | 0
64 | 0 | 155.4868 | 0.95 | 0.14771 | 0.048549 | 0.014771 | 0.0048549
65 | 0 | 0 | 1 | 0 | 0 | 0 | 0
66 | 0 | 33.949 | 0.95 | 0.032252 | 0.0106 | 0.0032252 | 0.00106
67 | 0 | 26.3175 | 0.95 | 0.025002 | 0.0082173 | 0.0025002 | 0.00082173
68 | 0 | 9.1921 | 0.95 | 0.0087325 | 0.0028701 | 0.00087325 | 0.00028701
69 | 0 | 20.5947 | 0.95 | 0.019565 | 0.0064305 | 0.0019565 | 0.00064305
70 | 0 | 89.7349 | 0.95 | 0.085248 | 0.028019 | 0.0085248 | 0.0028019
71 | 0 | 0 | 1 | 0 | 0 | 0 | 0
72 | 0 | 0 | 1 | 0 | 0 | 0 | 0
73 | 0 | 479.6648 | 0.95 | 0.45568 | 0.14977 | 0.045568 | 0.014977
74 | 0 | 0 | 1 | 0 | 0 | 0 | 0
75 | 0 | 0 | 1 | 0 | 0 | 0 | 0
76 | 0 | 0 | 1 | 0 | 0 | 0 | 0
77 | 0 | 0 | 1 | 0 | 0 | 0 | 0
78 | 0 | 0 | 1 | 0 | 0 | 0 | 0
79 | 0 | 0 | 1 | 0 | 0 | 0 | 0
80 | 0 | 23.0922 | 0.95 | 0.021938 | 0.0072103 | 0.0021938 | 0.00072103
81 | 0 | 0 | 1 | 0 | 0 | 0 | 0
82 | 0 | 0 | 1 | 0 | 0 | 0 | 0
83 | 0 | 0 | 1 | 0 | 0 | 0 | 0
84 | 0 | 28.3442 | 0.95 | 0.026927 | 0.0088501 | 0.0026927 | 0.00088501
85 | 0 | 0 | 1 | 0 | 0 | 0 | 0
86 | 0 | 0 | 1 | 0 | 0 | 0 | 0
87 | 0 | 0 | 1 | 0 | 0 | 0 | 0
88 | 0 | 0 | 1 | 0 | 0 | 0 | 0
89 | 0 | 0 | 1 | 0 | 0 | 0 | 0
90 | 0 | 46.086 | 0.95 | 0.043782 | 0.01439 | 0.0043782 | 0.001439
91 | 0 | 161.6199 | 0.95 | 0.15354 | 0.050464 | 0.015354 | 0.0050464
92 | 0 | 77.6559 | 0.95 | 0.073773 | 0.024247 | 0.0073773 | 0.0024247
93 | 0 | 0 | 1 | 0 | 0 | 0 | 0
94 | 0 | 0 | 1 | 0 | 0 | 0 | 0
95 | 0 | 0 | 1 | 0 | 0 | 0 | 0
96 | 0 | 193.4609 | 0.95 | 0.18379 | 0.060406 | 0.018379 | 0.0060406
97 | 0 | 0 | 1 | 0 | 0 | 0 | 0
98 | 0 | 0 | 1 | 0 | 0 | 0 | 0
99 | 0 | 86.5172 | 0.95 | 0.082192 | 0.027014 | 0.0082192 | 0.0027014
100 | 0 | 0 | 1 | 0 | 0 | 0 | 0
101 | 0 | 195.8225 | 0.95 | 0.18603 | 0.061143 | 0.018603 | 0.0061143
102 | 0 | 0 | 1 | 0 | 0 | 0 | 0
103 | 0 | 311.0638 | 0.95 | 0.29551 | 0.097126 | 0.029551 | 0.0097126
104 | 0 | 0 | 1 | 0 | 0 | 0 | 0
105 | 0 | 311.9661 | 0.95 | 0.29637 | 0.097408 | 0.029637 | 0.0097408
106 | 0 | 212.7247 | 0.95 | 0.20209 | 0.066421 | 0.020209 | 0.0066421
107 | 0 | 0 | 1 | 0 | 0 | 0 | 0
108 | 0 | 117.5313 | 0.95 | 0.11166 | 0.036698 | 0.011166 | 0.0036698
109 | 0 | 48.5556 | 0.95 | 0.046128 | 0.015161 | 0.0046128 | 0.0015161
110 | 0 | 0 | 1 | 0 | 0 | 0 | 0
111 | 0 | 291.1025 | 0.95 | 0.27655 | 0.090893 | 0.027655 | 0.0090893
112 | 0 | 0 | 1 | 0 | 0 | 0 | 0
113 | 0 | 0.8257 | 0.95 | 0.00078442 | 0.00025781 | 7.8442e-05 | 2.5782e-05
114 | 0 | 81.8915 | 0.95 | 0.077797 | 0.02557 | 0.0077797 | 0.002557
115 | 0 | 0 | 1 | 0 | 0 | 0 | 0
116 | 0 | 0 | 1 | 0 | 0 | 0 | 0
117 | 0 | 127.5231 | 0.95 | 0.12115 | 0.039818 | 0.012115 | 0.0039818
118 | 0 | 37.2511 | 0.95 | 0.035389 | 0.011631 | 0.0035389 | 0.0011631
119 | 0 | 0 | 1 | 0 | 0 | 0 | 0
120 | 0 | 277.1074 | 0.95 | 0.26325 | 0.086523 | 0.026325 | 0.0086523
121 | 0 | 72.1479 | 0.95 | 0.068541 | 0.022527 | 0.0068541 | 0.0022527
122 | 0 | 0 | 1 | 0 | 0 | 0 | 0
123 | 0 | 0 | 1 | 0 | 0 | 0 | 0
124 | 0 | 161.6233 | 0.95 | 0.15354 | 0.050465 | 0.015354 | 0.0050465

## Lines
From | To | r_pu (pu) | x_pu (pu) | b_pu (pu) | r (ohm) | x (ohm) | b (S) | rate_A
1 | 2 | 0.0016617 | 0.0023928 | 0.0029349 | 0.080425 | 0.11581 | 6.0639e-05 | 17.7189
2 | 3 | 0.0010326 | 0.0014869 | 0.0018238 | 0.049976 | 0.071965 | 3.7681e-05 | 17.7189
3 | 4 | 0.0019014 | 0.0016733 | 0.0031345 | 0.092029 | 0.080985 | 6.4762e-05 | 15.242
4 | 5 | 0.00049596 | 0.00043645 | 0.00081759 | 0.024005 | 0.021124 | 1.6892e-05 | 15.242
5 | 7 | 0.0036923 | 0.0023179 | 5.7125e-05 | 0.17871 | 0.11219 | 1.1803e-06 | 10.9362
7 | 9 | 0.0020767 | 0.0013037 | 3.2129e-05 | 0.10051 | 0.063097 | 6.6382e-07 | 10.9362
9 | 12 | 0.0063554 | 0.0039897 | 9.8326e-05 | 0.3076 | 0.1931 | 2.0315e-06 | 10.9362
12 | 26 | 0.005145 | 0.0032299 | 7.96e-05 | 0.24902 | 0.15633 | 1.6446e-06 | 10.9362
26 | 33 | 0.0048641 | 0.0030535 | 7.5253e-05 | 0.23542 | 0.14779 | 1.5548e-06 | 10.9362
33 | 37 | 0.0035019 | 0.0021983 | 5.4178e-05 | 0.16949 | 0.1064 | 1.1194e-06 | 10.9362
37 | 40 | 0.0073404 | 0.0046081 | 0.00011357 | 0.35528 | 0.22303 | 2.3464e-06 | 10.9362
40 | 42 | 0.0087878 | 0.0055167 | 0.00013596 | 0.42533 | 0.26701 | 2.8091e-06 | 10.9362
42 | 44 | 0.0037283 | 0.0023405 | 5.7681e-05 | 0.18045 | 0.11328 | 1.1918e-06 | 10.9362
44 | 45 | 0.0006449 | 0.00040484 | 9.9774e-06 | 0.031213 | 0.019594 | 2.0614e-07 | 10.9362
45 | 46 | 0.0051359 | 0.0032241 | 7.9458e-05 | 0.24858 | 0.15605 | 1.6417e-06 | 10.9362
46 | 47 | 0.0089471 | 0.0056166 | 0.00013842 | 0.43304 | 0.27185 | 2.86e-06 | 10.9362
47 | 48 | 0.00091597 | 0.00057501 | 1.4171e-05 | 0.044333 | 0.02783 | 2.9279e-07 | 10.9362
48 | 67 | 0.0033311 | 0.0020912 | 5.1537e-05 | 0.16123 | 0.10121 | 1.0648e-06 | 10.9362
67 | 68 | 0.0044081 | 0.0027672 | 6.8198e-05 | 0.21335 | 0.13393 | 1.4091e-06 | 10.9362
68 | 69 | 0.0057586 | 0.003615 | 8.9092e-05 | 0.27871 | 0.17497 | 1.8407e-06 | 10.9362
69 | 70 | 0.0029727 | 0.0018661 | 4.5991e-05 | 0.14388 | 0.090321 | 9.5023e-07 | 10.9362
70 | 71 | 0.0019544 | 0.0012269 | 3.0237e-05 | 0.094594 | 0.059383 | 6.2474e-07 | 10.9362
71 | 72 | 0.0032154 | 0.0020185 | 4.9746e-05 | 0.15562 | 0.097695 | 1.0278e-06 | 10.9362
72 | 73 | 4.28e-05 | 2.68e-05 | 1.9686e-05 | 0.0020715 | 0.0012971 | 4.0674e-07 | 11.241
73 | 74 | 6.36e-05 | 3.98e-05 | 2.9253e-05 | 0.0030782 | 0.0019263 | 6.0441e-07 | 11.241
74 | 75 | 0.0035536 | 0.0013326 | 0.0016345 | 0.172 | 0.064499 | 3.3771e-05 | 9.1452
75 | 76 | 1.16e-06 | 1.16e-06 | 0 | 5.6144e-05 | 5.6144e-05 | 0 | 38.067
76 | 77 | 3.87e-07 | 3.87e-07 | 0 | 1.8731e-05 | 1.8731e-05 | 0 | 38.067
77 | 78 | 4.92e-07 | 4.92e-07 | 0 | 2.3813e-05 | 2.3813e-05 | 0 | 38.067
78 | 79 | 0.0059667 | 0.0022375 | 0.0027445 | 0.28879 | 0.1083 | 5.6704e-05 | 9.1452
79 | 80 | 2.88e-05 | 1.8e-05 | 1.3247e-05 | 0.0013939 | 0.0008712 | 2.737e-07 | 11.241
80 | 81 | 3.78e-05 | 2.36e-05 | 1.7387e-05 | 0.0018295 | 0.0011422 | 3.5923e-07 | 11.241
81 | 82 | 0.00074747 | 0.00046717 | 0.00034381 | 0.036178 | 0.022611 | 7.1035e-06 | 11.241
82 | 83 | 0.0045899 | 0.0028814 | 7.1012e-05 | 0.22215 | 0.13946 | 1.4672e-06 | 10.9362
83 | 85 | 0.0036023 | 0.0022614 | 5.5733e-05 | 0.17435 | 0.10945 | 1.1515e-06 | 10.9362
85 | 86 | 0.0035291 | 0.0022154 | 5.46e-05 | 0.17081 | 0.10723 | 1.1281e-06 | 10.9362
86 | 92 | 4.36e-07 | 4.36e-07 | 0 | 2.1102e-05 | 2.1102e-05 | 0 | 38.067
92 | 93 | 4.2e-07 | 4.2e-07 | 0 | 2.0328e-05 | 2.0328e-05 | 0 | 38.067
93 | 94 | 0.0021231 | 0.0019582 | 0.0017445 | 0.10276 | 0.094779 | 3.6044e-05 | 14.0989
94 | 95 | 0.00032793 | 0.00012297 | 0.00015084 | 0.015872 | 0.0059519 | 3.1164e-06 | 9.1452
95 | 96 | 0.003594 | 0.00078497 | 0.00066021 | 0.17395 | 0.037993 | 1.3641e-05 | 6.4779
4 | 6 | 0.00090493 | 0.00052714 | 0.00074356 | 0.043799 | 0.025514 | 1.5363e-05 | 11.8126
5 | 8 | 1.25e-05 | 7.75e-06 | 9.5329e-06 | 0.000605 | 0.0003751 | 1.9696e-07 | 11.8888
7 | 10 | 3.55e-07 | 3.55e-07 | 0 | 1.7182e-05 | 1.7182e-05 | 0 | 38.067
7 | 11 | 6.94e-07 | 6.94e-07 | 0 | 3.359e-05 | 3.359e-05 | 0 | 38.067
9 | 13 | 0.0013622 | 0.00051082 | 0.00062655 | 0.06593 | 0.024724 | 1.2945e-05 | 9.1452
13 | 14 | 0.0030573 | 0.0011465 | 0.0014062 | 0.14797 | 0.055489 | 2.9054e-05 | 9.1452
12 | 16 | 0.00091722 | 0.00042276 | 9.76e-06 | 0.044393 | 0.020461 | 2.0165e-07 | 8.9547
16 | 18 | 0.0073129 | 0.0033706 | 7.7815e-05 | 0.35394 | 0.16314 | 1.6078e-06 | 8.9547
18 | 19 | 0.0080067 | 0.0036904 | 8.5198e-05 | 0.38753 | 0.17861 | 1.7603e-06 | 8.9547
19 | 21 | 0.0076565 | 0.0025084 | 0.0014065 | 0.37058 | 0.12141 | 2.906e-05 | 7.621
21 | 22 | 1.54e-05 | 9.55e-06 | 1.1744e-05 | 0.00074536 | 0.00046222 | 2.4265e-07 | 11.8888
22 | 23 | 0.0042772 | 0.00027814 | 0.00017312 | 0.20702 | 0.013462 | 3.5768e-06 | 3.0865
23 | 24 | 0.011071 | 0.00071989 | 0.00044807 | 0.53582 | 0.034843 | 9.2576e-06 | 3.0865
24 | 25 | 5.65e-07 | 5.65e-07 | 0 | 2.7346e-05 | 2.7346e-05 | 0 | 38.067
16 | 17 | 2.93e-05 | 1.83e-05 | 1.3477e-05 | 0.0014181 | 0.00088572 | 2.7845e-07 | 11.241
19 | 20 | 3.55e-07 | 3.55e-07 | 0 | 1.7182e-05 | 1.7182e-05 | 0 | 38.067
26 | 27 | 0.00032512 | 0.00046817 | 0.00057424 | 0.015736 | 0.022659 | 1.1864e-05 | 17.7189
27 | 28 | 4.84e-07 | 4.84e-07 | 0 | 2.3426e-05 | 2.3426e-05 | 0 | 38.067
28 | 29 | 3.57e-07 | 3.57e-07 | 0 | 1.7279e-05 | 1.7279e-05 | 0 | 38.067
29 | 30 | 0.00054752 | 0.00011958 | 0.00010058 | 0.0265 | 0.0057879 | 2.0781e-06 | 6.4779
30 | 31 | 0.0003063 | 6.69e-05 | 5.6266e-05 | 0.014825 | 0.003238 | 1.1625e-06 | 6.4779
31 | 32 | 0.00072997 | 0.0010512 | 0.0012893 | 0.03533 | 0.050876 | 2.6639e-05 | 17.7189
33 | 34 | 0.0073993 | 0.0034104 | 7.8735e-05 | 0.35813 | 0.16506 | 1.6268e-06 | 8.9547
34 | 35 | 0.0039023 | 0.0014634 | 0.0017949 | 0.18887 | 0.070827 | 3.7085e-05 | 9.1452
35 | 36 | 7.26e-07 | 7.26e-07 | 0 | 3.5138e-05 | 3.5138e-05 | 0 | 38.067
37 | 38 | 0.0029655 | 0.0013669 | 3.1556e-05 | 0.14353 | 0.066156 | 6.5198e-07 | 8.9547
38 | 39 | 5.15e-06 | 3.22e-06 | 2.3688e-06 | 0.00024926 | 0.00015585 | 4.8942e-08 | 11.241
40 | 41 | 0.0063563 | 0.0013883 | 0.0011676 | 0.30765 | 0.067193 | 2.4125e-05 | 6.4779
42 | 109 | 0.0035365 | 0.00163 | 3.7631e-05 | 0.17116 | 0.078892 | 7.775e-07 | 8.9547
109 | 110 | 0.0038953 | 0.0017954 | 4.1449e-05 | 0.18853 | 0.086896 | 8.5639e-07 | 8.9547
110 | 111 | 2.97e-05 | 1.86e-05 | 1.3661e-05 | 0.0014375 | 0.00090024 | 2.8225e-07 | 11.241
42 | 43 | 0.0005222 | 0.0004315 | 1.2539e-05 | 0.025275 | 0.020885 | 2.5907e-07 | 9.3358
43 | 115 | 0.0030977 | 0.0025596 | 7.4381e-05 | 0.14993 | 0.12389 | 1.5368e-06 | 9.3358
115 | 118 | 4.84e-07 | 4.84e-07 | 0 | 2.3426e-05 | 2.3426e-05 | 0 | 38.067
43 | 112 | 0.003138 | 0.0025929 | 7.5348e-05 | 0.15188 | 0.1255 | 1.5568e-06 | 9.3358
112 | 113 | 4.85e-07 | 4.85e-07 | 0 | 2.3474e-05 | 2.3474e-05 | 0 | 38.067
112 | 114 | 0.012979 | 0.005982 | 0.0001381 | 0.62816 | 0.28953 | 2.8534e-06 | 8.9547
45 | 116 | 0.0019699 | 0.00090793 | 2.0961e-05 | 0.095342 | 0.043944 | 4.3308e-07 | 8.9547
116 | 119 | 0.0018096 | 0.00083406 | 1.9256e-05 | 0.087585 | 0.040369 | 3.9784e-07 | 8.9547
119 | 122 | 0.001578 | 0.00034464 | 0.00028987 | 0.076373 | 0.016681 | 5.989e-06 | 6.4779
122 | 123 | 5.91e-05 | 3.7e-05 | 2.7184e-05 | 0.0028604 | 0.0017908 | 5.6165e-07 | 11.241
119 | 121 | 0.002768 | 0.00173 | 0.0012732 | 0.13397 | 0.083732 | 2.6305e-05 | 11.241
116 | 124 | 3.55e-07 | 3.55e-07 | 0 | 1.7182e-05 | 1.7182e-05 | 0 | 38.067
119 | 120 | 0.0040148 | 0.00087686 | 0.0007375 | 0.19431 | 0.04244 | 1.5238e-05 | 6.4779
47 | 49 | 0.0024045 | 0.0015028 | 0.001106 | 0.11638 | 0.072737 | 2.2851e-05 | 11.241
49 | 52 | 5e-07 | 5e-07 | 0 | 2.42e-05 | 2.42e-05 | 0 | 38.067
52 | 53 | 0.0066601 | 0.0021819 | 0.0012234 | 0.32235 | 0.10561 | 2.5278e-05 | 7.621
53 | 54 | 0.00081346 | 0.0011714 | 0.0014368 | 0.039372 | 0.056695 | 2.9686e-05 | 17.7189
54 | 55 | 0.00067934 | 0.00097825 | 0.0011999 | 0.03288 | 0.047348 | 2.4791e-05 | 17.7189
55 | 56 | 4.52e-07 | 4.52e-07 | 0 | 2.1877e-05 | 2.1877e-05 | 0 | 38.067
56 | 57 | 0.00064984 | 0.00093576 | 0.0011478 | 0.031452 | 0.045291 | 2.3714e-05 | 17.7189
57 | 58 | 0.00084086 | 0.0012108 | 0.0014852 | 0.040698 | 0.058605 | 3.0685e-05 | 17.7189
58 | 59 | 0.00057723 | 0.00018911 | 0.00010603 | 0.027938 | 0.0091528 | 2.1908e-06 | 7.621
59 | 60 | 0.0061877 | 0.0013515 | 0.0011367 | 0.29949 | 0.06541 | 2.3485e-05 | 6.4779
60 | 61 | 0.00061692 | 0.00056901 | 0.00050691 | 0.029859 | 0.02754 | 1.0473e-05 | 14.0989
61 | 62 | 3.55e-07 | 3.55e-07 | 0 | 1.7182e-05 | 1.7182e-05 | 0 | 38.067
49 | 50 | 0.006017 | 0.0013142 | 0.0011053 | 0.29122 | 0.063606 | 2.2837e-05 | 6.4779
50 | 51 | 3.71e-07 | 3.71e-07 | 0 | 1.7956e-05 | 1.7956e-05 | 0 | 38.067
59 | 117 | 3.55e-07 | 3.55e-07 | 0 | 1.7182e-05 | 1.7182e-05 | 0 | 38.067
48 | 63 | 0.021523 | 0.0063662 | 0.00014729 | 1.0417 | 0.30812 | 3.0432e-06 | 4.3821
63 | 65 | 0.011142 | 0.0051353 | 0.00011856 | 0.53926 | 0.24855 | 2.4495e-06 | 8.9547
65 | 66 | 3.91e-07 | 3.91e-07 | 0 | 1.8924e-05 | 1.8924e-05 | 0 | 38.067
63 | 64 | 3.17e-05 | 1.98e-05 | 1.4581e-05 | 0.0015343 | 0.00095832 | 3.0126e-07 | 11.241
71 | 106 | 0.0011249 | 0.00024569 | 0.00020664 | 0.054446 | 0.011891 | 4.2695e-06 | 6.4779
72 | 107 | 0.0033198 | 0.0020841 | 5.1362e-05 | 0.16068 | 0.10087 | 1.0612e-06 | 10.9362
107 | 108 | 3.15e-05 | 1.97e-05 | 1.4489e-05 | 0.0015246 | 0.00095348 | 2.9935e-07 | 11.241
76 | 102 | 4.04e-07 | 4.04e-07 | 0 | 1.9554e-05 | 1.9554e-05 | 0 | 38.067
102 | 103 | 0.00060166 | 0.00022562 | 0.00027674 | 0.02912 | 0.01092 | 5.7177e-06 | 9.1452
103 | 104 | 0.0011084 | 0.00041566 | 0.00050984 | 0.053648 | 0.020118 | 1.0534e-05 | 9.1452
104 | 105 | 4.68e-07 | 4.68e-07 | 0 | 2.2651e-05 | 2.2651e-05 | 0 | 38.067
82 | 100 | 0.0038919 | 0.00085003 | 0.00071493 | 0.18837 | 0.041141 | 1.4771e-05 | 6.4779
100 | 101 | 5.17e-07 | 5.17e-07 | 0 | 2.5023e-05 | 2.5023e-05 | 0 | 38.067
83 | 84 | 4.56e-07 | 4.56e-07 | 0 | 2.207e-05 | 2.207e-05 | 0 | 38.067
85 | 97 | 0.0087526 | 0.0023746 | 0.0012837 | 0.42362 | 0.11493 | 2.6523e-05 | 3.2389
97 | 98 | 0.00054852 | 0.00034283 | 0.0002523 | 0.026548 | 0.016593 | 5.2128e-06 | 11.241
98 | 99 | 4.76e-07 | 4.76e-07 | 0 | 2.3038e-05 | 2.3038e-05 | 0 | 38.067
86 | 89 | 0.00084125 | 0.00052578 | 0.00038694 | 0.040717 | 0.025448 | 7.9947e-06 | 11.241
89 | 90 | 0.00043602 | 0.00027252 | 0.00020055 | 0.021104 | 0.01319 | 4.1437e-06 | 11.241
86 | 87 | 0.0029692 | 0.0018639 | 4.5937e-05 | 0.14371 | 0.090214 | 9.491e-07 | 10.9362
87 | 88 | 8.15e-05 | 5.09e-05 | 3.7487e-05 | 0.0039446 | 0.0024636 | 7.7452e-07 | 11.241
86 | 91 | 0.00049092 | 0.00070692 | 0.00086708 | 0.02376 | 0.034215 | 1.7915e-05 | 17.7189
9 | 15 | 4.84e-07 | 4.84e-07 | 0 | 2.3426e-05 | 2.3426e-05 | 0 | 38.067

## Positions
Node | x | y
0 | 0 | 0
1 | 3.6 | 0
2 | 5.4 | 0
3 | 7.2 | 0
4 | 9 | 0
5 | 7.2 | 5.3
6 | 10.8 | 0
7 | 9 | 3.5
8 | 12.6 | 0
9 | 10.8 | -3.2
10 | 10.8 | 5.3
11 | 14.4 | 0
12 | 12.6 | 3.5
13 | 12.6 | 6.2
14 | 12.6 | -3.2
15 | 14.4 | 10.5
16 | 15.2 | 7.7
17 | 16.2 | 10.5
18 | 18 | 10.5
19 | 18.8 | 7.7
20 | 19.8 | 10.5
21 | 21.6 | 10.5
22 | 23.4 | 10.5
23 | 25.2 | 10.5
24 | 27 | 10.5
25 | 16.2 | 0
26 | 16.2 | 5.5
27 | 18 | 5.5
28 | 19.8 | 5.5
29 | 21.6 | 5.5
30 | 23.4 | 5.5
31 | 25.2 | 5.5
32 | 18 | 0
33 | 18 | -5
34 | 16.2 | -5
35 | 13.5 | -5
36 | 19.8 | 0
37 | 19.8 | -2.5
38 | 19.8 | -5
39 | 23.4 | 0
40 | 23.4 | -2.5
41 | 25.2 | 0
42 | 27.5 | 4.05
43 | 30.6 | 0
44 | 32.4 | 0
45 | 34.2 | 0
46 | 36 | 0
47 | 37.8 | 0
48 | 36.8 | 3.5
49 | 34.64 | 3.5
50 | 32.48 | 3.5
51 | 36.8 | 6.5
52 | 37.6 | 9
53 | 39.4 | 9
54 | 41.2 | 9
55 | 43 | 9
56 | 44.8 | 9
57 | 46.6 | 9
58 | 48.4 | 9
59 | 50.2 | 9
60 | 52 | 9
61 | 54.7 | 9
62 | 39.6 | 3.5
63 | 40.4 | 6.5
64 | 41.76 | 3.5
65 | 43.92 | 3.5
66 | 39.6 | 0
67 | 41.4 | 0
68 | 43.2 | 0
69 | 45 | 0
70 | 46.8 | 0
71 | 48.6 | 0
72 | 48.6 | -4
73 | 48.6 | -6.5
74 | 48.6 | -9
75 | 48.6 | -11.5
76 | 48.6 | -15.5
77 | 46.8 | -15.5
78 | 45 | -15.5
79 | 43.2 | -15.5
80 | 41.4 | -15.5
81 | 39.6 | -15.5
82 | 37.8 | -15.5
83 | 37.8 | -13
84 | 32.4 | -15.5
85 | 25.2 | -15.5
86 | 22.5 | -13
87 | 22.5 | -10.5
88 | 25.2 | -13
89 | 25.2 | -10.5
90 | 25.2 | -17.5
91 | 19.8 | -15.5
92 | 18 | -15.5
93 | 16.2 | -15.5
94 | 14.4 | -15.5
95 | 12.6 | -15.5
96 | 32.4 | -13
97 | 32.4 | -10.5
98 | 32.4 | -8
99 | 39.6 | -12.9
100 | 39.6 | -10.5
101 | 46.5 | -8
102 | 44.3 | -8
103 | 42.1 | -8
104 | 39.9 | -8
105 | 46.8 | 3.4
106 | 50.6 | 1.7
107 | 50.6 | 4.4
108 | 27.2 | -2.5
109 | 27.2 | -5
110 | 27.2 | -7.5
111 | 29.9 | 4.05
112 | 29.9 | 7.8
113 | 29.9 | 1.55
114 | 27.5 | 6.55
115 | 34.2 | -3
116 | 48.4 | 5
117 | 27.5 | 9.05
118 | 34.2 | -6.5
119 | 31.7 | -6.5
120 | 36.7 | -6.5
121 | 34.2 | -9
122 | 34.2 | -11.5
123 | 31.7 | -3