## Buses
Bus | IsSlack | Load_kVA | PowerFactor | P (MW) | Q (MVAr) | P_pu (pu) | Q_pu (pu) | Vbase | 11
1 | true | 0 | 0.95 | 0 | 0 | 0 | 0 | Sbase | 10
2 | false | 0 | 0.95 | 0 | 0 | 0 | 0
3 | false | 0 | 0.95 | 0 | 0 | 0 | 0
4 | false | 0 | 0.95 | 0 | 0 | 0 | 0
5 | false | 0 | 0.95 | 0 | 0 | 0 | 0
6 | false | 0.21053 | 0.95 | 0.2 | 0.065737 | 0.02 | 0.0065737
7 | false | 0.10526 | 0.95 | 0.1 | 0.032868 | 0.01 | 0.0032868
8 | false | 0 | 0.95 | 0 | 0 | 0 | 0
9 | false | 0.31579 | 0.95 | 0.3 | 0.098605 | 0.03 | 0.0098605
10 | false | 0 | 0.95 | 0 | 0 | 0 | 0
11 | false | 0.10526 | 0.95 | 0.1 | 0.032868 | 0.01 | 0.0032868
12 | false | 0 | 0.95 | 0 | 0 | 0 | 0
13 | false | 0.21053 | 0.95 | 0.2 | 0.065737 | 0.02 | 0.0065737
14 | false | 0 | 0.95 | 0 | 0 | 0 | 0
15 | false | 0.36842 | 0.95 | 0.35 | 0.11504 | 0.035 | 0.011504
16 | false | 0.26316 | 0.95 | 0.25 | 0.082171 | 0.025 | 0.0082171
17 | false | 0 | 0.95 | 0 | 0 | 0 | 0
18 | false | 0.21053 | 0.95 | 0.2 | 0.065737 | 0.02 | 0.0065737
19 | false | 0.10526 | 0.95 | 0.1 | 0.032868 | 0.01 | 0.0032868
20 | false | 0.10526 | 0.95 | 0.1 | 0.032868 | 0.01 | 0.0032868

## Lines
From | To | r_pu (pu) | x_pu (pu) | r (ohm) | x (ohm) | Pmax (MW) | Open | Vbase | 11
1 | 2 | 0.03 | 0.02 | 0.363 | 0.242 | 2 | false | Sbase | 10
2 | 3 | 0.03 | 0.02 | 0.363 | 0.242 | 2 | false
3 | 4 | 0.03 | 0.02 | 0.363 | 0.242 | 2 | false
4 | 5 | 0.03 | 0.02 | 0.363 | 0.242 | 2 | false
5 | 6 | 0.03 | 0.02 | 0.363 | 0.242 | 2 | false
6 | 7 | 0.03 | 0.02 | 0.363 | 0.242 | 2 | false
7 | 8 | 0.03 | 0.02 | 0.363 | 0.242 | 2 | false
8 | 9 | 0.03 | 0.02 | 0.363 | 0.242 | 2 | false
3 | 12 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
12 | 13 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
5 | 17 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
17 | 18 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
18 | 19 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
19 | 20 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
5 | 14 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
14 | 15 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
14 | 16 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
2 | 10 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false
10 | 11 | 0.04 | 0.025 | 0.484 | 0.3025 | 2 | false

## Bus Data
Bus
LP1
LP2
LP3
LP4
LP5
LP6
LP7
LP8
LP9
LP10
LP11
LP12
LP13
LP14
LP15
LP16
LP17
LP18
LP19
LP20

## Line Data
Section | Length | Upstream Bus | Downstream Bus | Fuse/breaker direction | Disconnector direction | Cable Type | Nr Transformers | Transformer Type
S1 | 1 | LP1 | LP2 | U | U | Line1 | 0
S2 | 1 | LP2 | LP3 | N | U | Line2 | 0
S3 | 1 | LP3 | LP4 | N | N | Line3 | 0
S4 | 1 | LP4 | LP5 | N | U | Line4 | 0
S5 | 1 | LP5 | LP6 | N | U | Line5 | 0
S6 | 1 | LP6 | LP7 | N | U | Line6 | 0
S18 | 1 | LP7 | LP8 | N | N | Line18 | 0
S19 | 1 | LP8 | LP9 | N | N | Line19 | 0
S7 | 1 | LP3 | LP12 | N | N | Line7 | 0
S8 | 1 | LP12 | LP13 | N | N | Line8 | 0
S9 | 1 | LP5 | LP17 | N | U | Line9 | 0
S10 | 1 | LP17 | LP18 | N | N | Line10 | 0
S11 | 1 | LP18 | LP19 | N | U | Line11 | 0
S12 | 1 | LP19 | LP20 | N | N | Line12 | 0
S13 | 1 | LP5 | LP14 | N | U | Line13 | 0
S14 | 1 | LP14 | LP15 | N | N | Line14 | 0
S15 | 1 | LP14 | LP16 | N | D | Line15 | 0
S16 | 1 | LP2 | LP10 | N | N | Line16 | 0
S17 | 1 | LP10 | LP11 | N | N | Line17 | 0

## Generation Data
Bus | Lim MW | E cap | Main Feeder
LP1 | inf | 0 | true

## Backup Feeders
Section | End 1 | End 2 | s
BS1 | LP7 | BB1 | 0.5
BS2 | LP16 | BB2 | 0.5

## Load Point Data
Load Point | Customer type | Load level average [MW] | Load point peak [MW] | Number of customers | c_NOK_per_kWh_1h | c_NOK_per_kWh_4h
LP1 | residential | 0 | 0 | 1 | 1 | 1
LP2 | residential | 0 | 0 | 1 | 1 | 1
LP3 | residential | 0 | 0 | 1 | 1 | 1
LP4 | residential | 0 | 0 | 1 | 1 | 1
LP5 | residential | 0 | 0 | 1 | 1 | 1
LP6 | residential | 0.32 | 0.32 | 1 | 1 | 1
LP7 | residential | 0 | 0 | 1 | 1 | 1
LP8 | residential | 0 | 0 | 1 | 1 | 1
LP9 | residential | 0.28 | 0.28 | 1 | 1 | 1
LP10 | residential | 0 | 0 | 1 | 1 | 1
LP11 | residential | 0.19 | 0.19 | 1 | 1 | 1
LP12 | residential | 0 | 0 | 1 | 1 | 1
LP13 | residential | 0.34 | 0.34 | 1 | 1 | 1
LP14 | residential | 0 | 0 | 1 | 1 | 1
LP15 | residential | 0.22 | 0.22 | 1 | 1 | 1
LP16 | residential | 0.27 | 0.27 | 1 | 1 | 1
LP17 | residential | 0 | 0 | 1 | 1 | 1
LP18 | residential | 0.41 | 0.41 | 1 | 1 | 1
LP19 | residential | 0.23 | 0.23 | 1 | 1 | 1
LP20 | residential | 0.36 | 0.36 | 1 | 1 | 1

## Component Data
Component | lambda | r | s
Line1 | 0.01 | 2 | 0.5
Line2 | 0.01 | 2 | 0.5
Line3 | 0.01 | 2 | 0.5
Line4 | 0.01 | 2 | 0.5
Line5 | 0.01 | 2 | 0.5
Line6 | 0.01 | 2 | 0.5
Line7 | 0.01 | 2 | 0.5
Line8 | 0.01 | 2 | 0.5
Line9 | 0.01 | 2 | 0.5
Line10 | 0.01 | 2 | 0.5
Line11 | 0.01 | 2 | 0.5
Line12 | 0.01 | 2 | 0.5
Line13 | 0.01 | 2 | 0.5
Line14 | 0.01 | 2 | 0.5
Line15 | 0.01 | 2 | 0.5
Line16 | 0.01 | 2 | 0.5
Line17 | 0.01 | 2 | 0.5
Line18 | 0.01 | 2 | 0.5
Line19 | 0.01 | 2 | 0.5

## Positions
Node | x | y
1 | -1.5 | 0
2 | 0 | 0
3 | 2 | 0
4 | 4 | 0
5 | 7 | 0
6 | 8.8 | 0
7 | 11 | 0
8 | 11 | -4
9 | 11 | -8
10 | 0 | -4
11 | 0 | -8
12 | 2 | 4
13 | 2 | 8
14 | 7 | -4
15 | 7 | -8
16 | 5 | -4
17 | 7 | 4
18 | 7 | 8
19 | 9 | 8
20 | 10 | 8